## Slide 1
Info
Exam
Engineering Application
Packet
Calibration
Software Update
FPGA
Application Logging
TCD Logging
TCD Power Status
TCD Probes Status
Legends
Input
Output
Feature/
Functionality
Activity/
Operation
High Level Design Diagram of Engineering Application

## Slide 2
Exam Info
Legends
Input
Output
Feature/
Functionality
Activity/
Operation
Display TCD Probes Status
TCD Power
Turn On
Turn Off
Spectrogram
128/
256/
512
Read Parameters
TCD
Parameters
Power
Depth
Filter
S-Volume
Start Depth
PRF
Write
Parameters
Read Parameters
Parameters
Min, Mean
Max, PI, TIC
Set Spectrum Bin
M-Mode
Limits
On
Off
Limits
On
Off

## Slide 3
Information Screen
TCD
Board Info
Read
Write
Probe Info
Read
Write
Channel Assignment
Read
Write
Operating Info
Read
Legends
Input
Output
Feature/
Functionality
Activity/
Operation

## Slide 4
Application Logging
Application Log
Display
Application Activities
Write to
file
Write to UI
Application Log
TCD Logging
TCD Log
Display
TCD Activities
Write to
file
Write to UI
TCD Log
TCD
Legends
Input
Output
Feature/
Functionality
Activity/
Operation

## Slide 5
Legends
Input
Output
Feature/
Functionality
Activity/
Operation
Software Update
TCD
Software Version
Boot Version
Hardware Version
Read
Software Update
Write
Update File
Read Current Version Info

## Slide 6
Legends
Input
Output
Feature/
Functionality
Activity/
Operation
Display Packet Information
TCD
Refresh Interval
Update Refresh Interval
Envelope Data
OnRefresh
Update Envelope Tree
Update Hex View
Select Tree
Node
Envelop Tree
Hex View
Read Request